## Tabla de Señales.csv
| Codigo de |  | Zona
| Señal | Descripción | Usuario | Prioridad
100 | ALARMS
Medical Alarms - 100
| 100 | Medical | Zone
| 101 | Personal Emergency | Zone
| 102 | Fail to report in | Zone
Fire Alarms - 110
| 110 | Fire | Zone
| 111 | Smoke | Zone
| 112 | Combustion | Zone
| 113 | Water flow | Zone
| 114 | Heat | Zone
| 115 | Pull Station | Zone
| 116 | Duct | Zone
| 117 | Flame | Zone
| 118 | Near Alarm | Zone
Panic Alarms - 120
| 120 | Panic | Zone
| 121 | Duress | User
| 122 | Silent | Zone
| 123 | Audible | Zone
| 124 | Duress - Access granted | Zone
| 125 | Duress - Egress granted | Zone
Burglar Alarms - 130
| 130 | Burglary | Zone
| 131 | Perimeter | Zone
| 132 | Interior | Zone
| 133 | 24 Hour (Safe) | Zone
| 134 | Entry/Exit | Zone
| 135 | Day/night | Zone
| 136 | Outdoor | Zone
| 137 | Tamper | Zone
| 138 | Near alarm | Zone
| 139 | Intrusion Verifier | Zone
General Alarm - 140
| 140 | General Alarm | Zone
| 141 | Polling loop open | Zone
| 142 | Polling loop short | Zone
| 143 | Expansion module failure | Zone
| 144 | Sensor tamper | Zone
| 145 | Expansion module tamper | Zone
| 146 | Silent Burglary | Zone
| 147 | Sensor Supervision Failure | Zone
24 Hour Non-Burglary - 150 and 160
| 150 | 24 Hour Non-Burglary | Zone
| 151 | Gas detected | Zone
| 152 | Refrigeration | Zone
| 153 | Loss of heat | Zone
| 154 | Water Leakage | Zone
| 155 | Foil Break | Zone
| 156 | Day Trouble | Zone
| 157 | Low bottled gas level | Zone
| 158 | High temp | Zone
| 159 | Low temp | Zone
| 161 | Loss of air flow | Zone
| 162 | Carbon Monoxide detected | Zone
| 163 | Tank level | Zone
200 | SUPERVISORY
Fire Supervisory - 200 and 210
| 200 | Fire Supervisory | Zone
| 201 | Low water pressure | Zone
| 202 | Low CO2 | Zone
| 203 | Gate valve sensor | Zone
| 204 | Low water level | Zone
| 205 | Pump activated | Zone
| 206 | Pump failure | Zone
Zone
300 | TROUBLES
System Troubles -300 and 310
| 300 | System Trouble | Zone
| 301 | AC Loss | Zone
| 302 | Low system battery | Zone
| 303 | RAM Checksum bad | Zone
| 304 | ROM checksum bad | Zone
| 305 | System reset | Zone
| 306 | Panel programming changed | Zone
| 307 | Self- test failure | Zone
| 308 | System shutdown | Zone
| 309 | Battery test failure | Zone
| 310 | Ground fault | Zone
| 311 | Battery Missing/Dead | Zone
| 312 | Power Supply Overcurrent | Zone
| 313 | Engineer Reset | User
Sounder / Relay Troubles -320
| 320 | Sounder/Relay | Zone
| 321 | Bell 1 | Zone
| 322 | Bell 2 | Zone
| 323 | Alarm relay | Zone
| 324 | Trouble relay | Zone
| 325 | Reversing relay | Zone
| 326 | Notification Appliance Ckt. # 3 | Zone
| 327 | Notification Appliance Ckt. #4 | Zone
System Peripheral Trouble -330 and 340
| 330 | System Peripheral trouble | Zone
| 331 | Polling loop open | Zone
| 332 | Polling loop short | Zone
| 333 | Expansion module failure | Zone
| 334 | Repeater failure | Zone
| 335 | Local printer out of paper | Zone
| 336 | Local printer failure | Zone
| 337 | Exp. Module DC Loss | Zone
| 338 | Exp. Module Low Batt. | Zone
| 339 | Exp. Module Reset | Zone
| 341 | Exp. Module Tamper | Zone
| 342 | Exp. Module AC Loss | Zone
| 343 | Exp. Module self-test fail | Zone
| 344 | RF Receiver Jam Detect | Zone
Communication Troubles -350 and 360
| 350 | Communication trouble | Zone
| 351 | Telco 1 fault | Zone
| 352 | Telco 2 fault | Zone
| 353 | Long Range Radio xmitter fault | Zone
| 354 | Failure to communicate event | Zone
| 355 | Loss of Radio supervision | Zone
| 356 | Loss of central polling | Zone
| 357 | Long Range Radio VSWR problem | Zone
Protection Loop -370
| 370 | Protection loop | Zone
| 371 | Protection loop open | Zone
| 372 | Protection loop short | Zone
| 373 | Fire trouble | Zone
| 374 | Exit error alarm (Zone) | Zone
| 375 | Panic zone trouble | Zone
| 376 | Hold-up trouble | Zone
| 377 | Swinger Trouble | Zone
| 378 | Cross-zone Trouble | Zone
Sensor Trouble -380
| 380 | Sensor trouble | Zone
| 381 | Loss of supervision - RF | Zone
| 382 | Loss of supervision - RPM | Zone
| 383 | Sensor tamper | Zone
| 384 | RF low battery | Zone
| 385 | Smoke detector Hi sensitivity | Zone
| 386 | Smoke detector Low sensitivity | Zone
| 387 | Intrusion detector Hi sensitivity | Zone
| 388 | Intrusion detector Low sensitivity | Zone
| 389 | Sensor self-test failure | Zone
| 391 | Sensor Watch trouble | Zone
| 392 | Drift Compensation Error | Zone
| 393 | Maintenance Alert | Zone
400 | OPEN/CLOSE/REMOTE ACCESS
Open/Close -400, 440,450
| 400 | Open/Close | User
| 401 | Open/Close by | User
| 402 | Group O/C | User
| 403 | Automatic O/C | User
| 404 | Late to O/C (Note: use 453, 454 instead ) | User
| 405 | Deferred O/C (Obsolete- do not use ) | User
| 406 | Cancel | User
| 407 | Remote arm/disarm | User
| 408 | Quick arm | User
| 409 | Keyswitch O/C | User
| 441 | Armed STAY | User
| 442 | Keyswitch Armed STAY | User
| 450 | Exception O/C | User
| 451 | Early O/C | User
| 452 | Late O/C | User
| 453 | Failed to Open | User
| 454 | Failed to Close | User
| 455 | Auto-arm Failed | User
| 456 | Partial Arm | User
| 457 | Exit Error (User) | User
| 458 | User on Premises | User
| 459 | Recent Close | User
| 461 | Wrong Code Entry | Zone
| 462 | Legal Code Entry | User
| 463 | Re-arm after Alarm | User
| 464 | Auto-arm Time Extended | User
| 465 | Panic Alarm Reset | Zone
| 466 | Service On/Off Premises | User
Remote Access - 410
| 411 | Callback request made | User
| 412 | Successful download/access | User
| 413 | Unsuccessful access | User
| 414 | System shutdown command received | User
| 415 | Dialer shutdown command received | User
| 416 | Successful Upload | Zone
Access control - 420,430
| 421 | Access denied | User
| 422 | Access report by user | User
| 423 | Forced Access | Zone
| 424 | Egress Denied | User
| 425 | Egress Granted | User
| 426 | Access Door propped open | Zone
| 427 | Access point Door Status Monitor trouble | Zone
| 428 | Access point Request To Exit trouble | Zone
| 429 | Access program mode entry | User
| 430 | Access program mode exit | User
| 431 | Access threat level change | User
| 432 | Access relay/trigger fail | Zone
| 433 | Access RTE shunt | Zone
| 434 | Access DSM shunt | Zone
500 | BYPASSES / DISABLES
System Disables -500 and 510
| 501 | Access reader disable | Zone
Sounder / Relay Disables -520
| 520 | Sounder/Relay Disable | Zone
| 521 | Bell 1 disable | Zone
| 522 | Bell 2 disable | Zone
| 523 | Alarm relay disable | Zone
| 524 | Trouble relay disable | Zone
| 525 | Reversing relay disable | Zone
| 526 | Notification Appliance Ckt. # 3 disable | Zone
| 527 | Notification Appliance Ckt. # 4 disable | Zone
| 531 | Module Added | Zone
| 532 | Module Removed | Zone
Communication Disables -550 and 560
| 551 | Dialer disabled | Zone
| 552 | Radio transmitter disabled | Zone
| 553 | Remote Upload/Download disabled | Zone
Bypasses - 570
| 570 | Zone/Sensor bypass | Zone
| 571 | Fire bypass | Zone
| 572 | 24 Hour zone bypass | Zone
| 573 | Burg. Bypass | Zone
| 574 | Group bypass | User
| 575 | Swinger bypass | Zone
| 576 | Access zone shunt | Zone
| 577 | Access point bypass | Zone
600 | TEST / MISC.
Test/Misc. - 600, 610
| 601 | Manual trigger test report | Zone
| 602 | Periodic test report | Zone
| 603 | Periodic RF transmission | Zone
| 604 | Fire test | User
| 605 | Status report to follow | Zone
| 606 | Listen- in to follow | Zone
| 607 | Walk test mode | User
| 608 | Periodic test - System Trouble Present | Zone
| 609 | Video Xmitter active | Zone
| 611 | Point tested OK | Zone
| 612 | Point not tested | Zone
| 613 | Intrusion Zone Walk Tested | Zone
| 614 | Fire Zone Walk Tested | Zone
| 615 | Panic Zone Walk Tested | Zone
| 616 | Service Request | Zone
Event Log - 620
| 621 | Event Log reset | Zone
| 622 | Event Log 50% full | Zone
| 623 | Event Log 90% full | Zone
| 624 | Event Log overflow | Zone
| 625 | Time/Date reset | User
| 626 | Time/Date inaccurate | Zone
| 627 | Program mode entry | Zone
| 628 | Program mode exit | Zone
| 629 | 32 Hour Event log marker | Zone
Scheduling - 630
| 630 | Schedule change | Zone
| 631 | Exception schedule change | Zone
| 632 | Access schedule change | Zone
Personnel Monitoring -640
| 641 | Senior Watch Trouble | Zone
| 642 | Latch-key Supervision | User
Misc. -650
| 651 | Reserved for Ademco Use | Zone
| 652 | Reserved for Ademco Use | User
| 653 | Reserved for Ademco Use | User
| 654 | System Inactivity | Zone